- Main workflow(checked by Denis Dudas) - adaptive radiotherapy workflow with ML parts included in it(independent AI segmentation and deformable image registration).

The Segmentation can be done manually.

- Theoretical workflow 1 - the idea is to treat the sCT as a deformed CT and use basic image registration, for which we do not need segmentation for sCT, and just perform image registration between pCT and sCT.

- Theoretical workflow 2 - the idea is to treat the sCT as a deformed CT and perform the segmentation on the sCT.

- Deformable Image Registation Training(checked by Denis Dudas) - it is a diagram for the current selected approach for DIR training, which includes generating sCT.

Motivation for Synthetic CT generation and treating masks from sCT(Synthetic CT) as masks for CBCT:

- We believe that it can serve as an independent module for RTlab.

- We have CBCT data, but the data has poorer quality in comparison to CT.

- The CCT data we have is only from one institution - low variability.

- Currently, we are using the model to help leblers to annotate CT. The model is only for CT. So the labelling for CBCT should be done from scratch.